## Other
ANNUAL_MAINTENANCE_STORAGE_COSTS
Battery | 0
Hot Water Tank | 0
BIG_M | 99999
BatSize | 0.0
Boiler | 34.2514
CARBON_CREDITS
Elec | 0
Gas | 0
Grid | 0
Heat | 0
Irradiation | 0
Net_export | 0
Net_import | 0
CARBON_FACTORS
Elec | 0
Gas | 0.194
Grid | 0.35
Heat | 0
Irradiation | 0
Net_export | 0
Net_import | 0
CHARGING_EFFICIENCY
Battery | 0.99
Hot Water Tank | 0.99
CHP | 0.0
CONVERSION_EFFICIENCY | Elec | Gas | Grid | Heat | Irradiation | Net_export | Net_import
Boiler | 0 | -1 | 0 | 0.94 | 0 | 0 | 0
CHP | 0.3 | -1 | 0 | 0 | 0 | 0 | 0
GSHP | -1 | 0 | 0 | 6 | 0 | 0 | 0
Grid | 1 | 0 | -1 | 0 | 0 | 0 | 0
HP | -1 | 0 | 0 | 3.2 | 0 | 0 | 0
MicroCHP | 0.9 | -1 | 0 | 5.4 | 0 | 0 | 0
Net_export | -1 | 0 | 0 | 0 | 0 | 1 | 0
Net_import | 1 | 0 | 0 | 0 | 0 | 0 | -1
PV | 0.165 | 0 | 0 | 0 | 0 | 0 | 0
ST | 0 | 0 | 0 | 0.46 | 0 | 0 | 0
DISCHARGING_EFFICIENCY
Battery | 0.99
Hot Water Tank | 0.99
FEED_IN_TARIFFS
Elec | 0.01
Net_export | 0
FIXED_CAPITAL_COSTS
Boiler | 0
CHP | 0
GSHP | 0
Grid | 0
HP | 0
MicroCHP | 0
Net_export | 0
Net_import | 0
PV | 0
ST | 0
FIXED_CAPITAL_COSTS_STORAGE
Battery | 0
Hot Water Tank | 0
FIXED_NETWORK_INVESTMENT_COST | 30.0
FUEL_PRICES
Elec | 0
Gas | 0.028
Grid | 0.3
Heat | 0
Irradiation | 0
Net_export | 0
Net_import | 0
GSHP | 0.0
Grid | 15.2655
HP | 0.0
LINEAR_CAPITAL_COSTS
Boiler | 300
CHP | 1000
GSHP | 15000
Grid | 0
HP | 15000
MicroCHP | 2000
Net_export | 0
Net_import | 0
PV | 6000
ST | 4500
LINEAR_STORAGE_COSTS
Battery | 800
Hot Water Tank | 1000
LINK_LENGTH
0 | 0.5
1 | 0.7
2 | 0.2
3 | 0.25
LINK_PROPORTIONAL_COST | 10.0
MAX_CHARGE_RATE
Battery | 0.3
Hot Water Tank | 0.3
MAX_DISCHARGE_RATE
Battery | 0.3
Hot Water Tank | 0.3
MIN_STATE_OF_CHARGE
Battery | 0
Hot Water Tank | 0
MicroCHP | 0.0
NET_PRESENT_VALUE_STORAGE
Battery | 0.10185
Hot Water Tank | 0.10185
NET_PRESENT_VALUE_TECH
Boiler | 0.0888
CHP | 0.1019
GSHP | 0.0817
Grid | 0.08
HP | 0.1019
MicroCHP | 0.1019
Net_export | 0.08
Net_import | 0.08
PV | 0.1019
ST | 0.0858
Net_export | 11.6479
Net_import | 0.0
OMV_COSTS
Boiler | 0.01
CHP | 0.03
GSHP | 0.1
Grid | 0
HP | 0.1
MicroCHP | 0.02
Net_export | 0
Net_import | 0
PV | 0.01
ST | 0.01
PART_LOAD | Elec | Heat
CHP | 0.5
MicroCHP | 0.5 | 0.5
PV | 0.0
ST | 0.0
STORAGE_STANDING_LOSSES
Battery | 0.001
Hot Water Tank | 0.001
TIME_SERIES | Elec | Heat | Irradiation
0 | 0.4273 | 7.2831 | 0
1 | 0.5865 | 12.4017 | 0
2 | 0.7258 | 14.5112 | 0
3 | 1.6266 | 32.1963 | 0
4 | 0.7258 | 13.6767 | 0
5 | 0.288 | 17.7071 | 0
6 | 1.5942 | 23.2487 | 0
7 | 3.931 | 28.7226 | 0
8 | 3.2775 | 27.8787 | 0.019
9 | 1.7678 | 26.342 | 0.052
10 | 2.8657 | 22.0359 | 0.092
11 | 4.521 | 16.8924 | 0.115
12 | 0.92705 | 15.8916 | 0.116
13 | 1.6794 | 15.0216 | 0.095
14 | 2.595 | 14.3377 | 0.057
15 | 3.6176 | 14.0396 | 0.006
16 | 3.2272 | 14.7843 | 0
17 | 3.0318 | 15.594 | 0
TankSize | 0.0
capacities
Boiler | Boiler
CHP | CHP
GSHP | GSHP
Grid | Grid
HP | HP
MicroCHP | MicroCHP
Net_export | Net_export
Net_import | Net_import
PV | PV
ST | ST
capacity0 | 11.6479
capacity1 | 8.16835
capacity2 | 0.0
capacity3 | 0.914739
demands | Elec | Heat
energy_input | Boiler | CHP | GSHP | Grid | HP | MicroCHP | Net_export | Net_import | PV | ST
0 | 7.748 | 0 | 0 | 4.0335 | 0 | 0 | 3.6062 | 0 | 0 | 0
1 | 13.1933 | 0 | 0 | 5.5889 | 0 | 0 | 5.0024 | 0 | 0 | 0
2 | 15.4375 | 0 | 0 | 6.8423 | 0 | 0 | 6.1165 | 0 | 0 | 0
3 | 34.2514 | 0 | 0 | 6.4732 | 0 | 0 | 4.8466 | 0 | 0 | 0
4 | 14.5497 | 0 | 0 | 5.8671 | 0 | 0 | 5.1414 | 0 | 0 | 0
5 | 18.8373 | 0 | 0 | 5.6974 | 0 | 0 | 5.4094 | 0 | 0 | 0
6 | 24.7327 | 0 | 0 | 11.3444 | 0 | 0 | 9.7502 | 0 | 0 | 0
7 | 30.5559 | 0 | 0 | 14.7115 | 0 | 0 | 10.7805 | 0 | 0 | 0
8 | 29.6582 | 0 | 0 | 12.8106 | 0 | 0 | 9.5331 | 0 | 0 | 0
9 | 28.0234 | 0 | 0 | 7.1025 | 0 | 0 | 5.3347 | 0 | 0 | 0
10 | 23.4425 | 0 | 0 | 10.0115 | 0 | 0 | 7.1459 | 0 | 0 | 0
11 | 17.9707 | 0 | 0 | 13.3287 | 0 | 0 | 8.8076 | 0 | 0 | 0
12 | 16.9059 | 0 | 0 | 6.471 | 0 | 0 | 5.544 | 0 | 0 | 0
13 | 15.9804 | 0 | 0 | 10.2482 | 0 | 0 | 8.5688 | 0 | 0 | 0
14 | 15.2529 | 0 | 0 | 14.2429 | 0 | 0 | 11.6479 | 0 | 0 | 0
15 | 14.9357 | 0 | 0 | 15.2655 | 0 | 0 | 11.6479 | 0 | 0 | 0
16 | 15.728 | 0 | 0 | 14.8751 | 0 | 0 | 11.6479 | 0 | 0 | 0
17 | 16.5894 | 0 | 0 | 14.6797 | 0 | 0 | 11.6479 | 0 | 0 | 0
export_streams | Elec | Net_export
hub_id | 0
import_streams | Grid | Gas | Net_import
investment_cost | 912.458
is_installed
Boiler | 1
CHP | 0
GSHP | 0
Grid | 1
HP | 0
MicroCHP | 0
Net_export | 1
Net_import | 0
PV | 0
ST | 0
is_installed_2
Battery | 0
Hot Water Tank | 0
is_link_installed
0 | 1
1 | 1
2 | 0
3 | 1
link_capacities
0 | capacity0
1 | capacity1
2 | capacity2
3 | capacity3
links | 0 | 1 | 2 | 3
maintenance_cost | 3.32565
name | h | u | b | 1
network_cost | 36.6198
operating_cost | 63.7844
output_streams | Elec | Heat | Net_export
part_load | MicroCHP | CHP
sources | Irradiation
storage_capacity
Battery | BatSize
Hot Water Tank | TankSize
storages | Battery | Hot Water Tank
stream_timeseries
Irradiation | Irradiation
streams | Elec | Heat | Irradiation | Grid | Gas | Net_import | Net_export
technologies | Grid | HP | Boiler | MicroCHP | PV | ST | CHP | GSHP | Net_import | Net_export
time | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
total_carbon | 131.494
total_cost | 1016.19

## LOADS
LOADS
| Elec | Heat
0 | 0.4273 | 7.2831
1 | 0.5865 | 12.4017
2 | 0.7258 | 14.5112
3 | 1.6266 | 32.1963
4 | 0.7258 | 13.6767
5 | 0.288 | 17.7071
6 | 1.5942 | 23.2487
7 | 3.931 | 28.7226
8 | 3.2775 | 27.8787
9 | 1.7678 | 26.342
10 | 2.8657 | 22.0359
11 | 4.521 | 16.8924
12 | 0.92705 | 15.8916
13 | 1.6794 | 15.0216
14 | 2.595 | 14.3377
15 | 3.6176 | 14.0396
16 | 3.2272 | 14.7843
17 | 3.0318 | 15.594

## capacity_storage
capacity_storage
Battery | 0
Hot Water Tank | 0

## capacity_tech
capacity_tech
Boiler | 34.2514
CHP | 0
GSHP | 0
Grid | 15.2655
HP | 0
MicroCHP | 0
Net_export | 11.6479
Net_import | 0
PV | 0
ST | 0

## energy_exported
energy_exported
| Elec | Net_export
0 | 0 | 3.6062
1 | 0 | 5.0024
2 | 0 | 6.1165
3 | 0 | 4.8466
4 | 0 | 5.1414
5 | 0 | 5.4094
6 | 0 | 9.7502
7 | 0 | 10.7805
8 | 0 | 9.5331
9 | 0 | 5.3347
10 | 0 | 7.1459
11 | 0 | 8.8076
12 | 0 | 5.544
13 | 0 | 8.5688
14 | 0 | 11.6479
15 | 0 | 11.6479
16 | 0 | 11.6479
17 | 0 | 11.6479

## energy_from_storage
energy_from_storage
| Battery | Hot Water Tank
0 | 0 | 0
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
16 | 0 | 0
17 | 0 | 0

## energy_imported
energy_imported
| Gas | Grid | Net_import
0 | 7.748 | 4.0335 | 0
1 | 13.1933 | 5.5889 | 0
2 | 15.4375 | 6.8423 | 0
3 | 34.2514 | 6.4732 | 0
4 | 14.5497 | 5.8671 | 0
5 | 18.8373 | 5.6974 | 0
6 | 24.7327 | 11.3444 | 0
7 | 30.5559 | 14.7115 | 0
8 | 29.6582 | 12.8106 | 0
9 | 28.0234 | 7.1025 | 0
10 | 23.4425 | 10.0115 | 0
11 | 17.9707 | 13.3287 | 0
12 | 16.9059 | 6.471 | 0
13 | 15.9804 | 10.2482 | 0
14 | 15.2529 | 14.2429 | 0
15 | 14.9357 | 15.2655 | 0
16 | 15.728 | 14.8751 | 0
17 | 16.5894 | 14.6797 | 0

## energy_to_storage
energy_to_storage
| Battery | Hot Water Tank
0 | 0 | 0
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
16 | 0 | 0
17 | 0 | 0

## is_on
is_on
| CHP | MicroCHP
0 | 0 | 0
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
16 | 0 | 0
17 | 0 | 0

## storage_level
storage_level
| Battery | Hot Water Tank
0 | 0 | 0
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
16 | 0 | 0
17 | 0 | 0
18 | 0 | 0