## Other
ANNUAL_MAINTENANCE_STORAGE_COSTS
Battery | 0
Hot Water Tank | 0
BIG_M | 99999
BatSize | 0.0
Boiler | 19.6032
CARBON_CREDITS
Elec | 0
Gas | 0
Grid | 0
Heat | 0
Irradiation | 0
Net_export | 0
Net_import | 0
CARBON_FACTORS
Elec | 0
Gas | 0.194
Grid | 0.35
Heat | 0
Irradiation | 0
Net_export | 0
Net_import | 0
CHARGING_EFFICIENCY
Battery | 0.99
Hot Water Tank | 0.99
CHP | 0.0
CONVERSION_EFFICIENCY | Elec | Gas | Grid | Heat | Irradiation | Net_export | Net_import
Boiler | 0 | -1 | 0 | 0.94 | 0 | 0 | 0
GSHP | -1 | 0 | 0 | 6 | 0 | 0 | 0
Grid | 1 | 0 | -1 | 0 | 0 | 0 | 0
HP | -1 | 0 | 0 | 3.2 | 0 | 0 | 0
MicroCHP | 0.9 | -1 | 0 | 5.4 | 0 | 0 | 0
Net_export | -1 | 0 | 0 | 0 | 0 | 1 | 0
Net_import | 1 | 0 | 0 | 0 | 0 | 0 | -1
PV | 0.165 | 0 | 0 | 0 | 0 | 0 | 0
ST | 0 | 0 | 0 | 0.46 | 0 | 0 | 0
DISCHARGING_EFFICIENCY
Battery | 0.99
Hot Water Tank | 0.99
FEED_IN_TARIFFS
Elec | 0.01
Net_export | 0
FIXED_CAPITAL_COSTS
Boiler | 0
GSHP | 0
Grid | 0
HP | 0
MicroCHP | 0
Net_export | 0
Net_import | 0
PV | 0
ST | 0
FIXED_CAPITAL_COSTS_STORAGE
Battery | 0
Hot Water Tank | 0
FIXED_NETWORK_INVESTMENT_COST | 30.0
FUEL_PRICES
Elec | 0
Gas | 0.9
Grid | 2.5
Heat | 0
Irradiation | 0
Net_export | 0
Net_import | 0
GSHP | 0.0
Grid | 0.0
HP | 0.0
LINEAR_CAPITAL_COSTS
Boiler | 1200
GSHP | 15000
Grid | 0
HP | 15000
MicroCHP | 18000
Net_export | 0
Net_import | 0
PV | 60000
ST | 4500
LINEAR_STORAGE_COSTS
Battery | 800
Hot Water Tank | 800
LINK_LENGTH
0 | 0.5
1 | 0.7
2 | 0.2
3 | 0.25
LINK_PROPORTIONAL_COST | 10.0
MAX_CHARGE_RATE
Battery | 0.3
Hot Water Tank | 0.3
MAX_DISCHARGE_RATE
Battery | 0.3
Hot Water Tank | 0.3
MIN_STATE_OF_CHARGE
Battery | 0
Hot Water Tank | 0
MicroCHP | 0.0
NET_PRESENT_VALUE_STORAGE
Battery | 0.10185
Hot Water Tank | 0.10185
NET_PRESENT_VALUE_TECH
Boiler | 0.0888
GSHP | 0.0817
Grid | 0.08
HP | 0.1019
MicroCHP | 0.1019
Net_export | 0.08
Net_import | 0.08
PV | 0.1019
ST | 0.0858
Net_export | 0.0
Net_import | 6.5256
OMV_COSTS
Boiler | 0.01
GSHP | 0.1
Grid | 0
HP | 0.1
MicroCHP | 0.02
Net_export | 0
Net_import | 0
PV | 0.01
ST | 0.01
MicroCHP
Elec | 0.5
Heat | 0.5
PV | 0.0
ST | 0.0
STORAGE_STANDING_LOSSES
Battery | 0.001
Hot Water Tank | 0.001
TIME_SERIES | Elec | Heat | Irradiation
0 | 0.312 | 7.0556 | 0
1 | 0.5696 | 9.1527 | 0
2 | 0.7052 | 14.4477 | 0
3 | 0.5498 | 11.1676 | 0
4 | 0.5696 | 11.2691 | 0
5 | 0.5696 | 11.8355 | 0
6 | 0.5696 | 11.2188 | 0
7 | 1.6066 | 18.427 | 0
8 | 0.5696 | 1.0608 | 0.019
9 | 0.5696 | 1.963 | 0.052
10 | 0.3304 | 0.5608 | 0.092
11 | 0.5512 | 0 | 0.115
12 | 1.0068 | 9.3228 | 0.116
13 | 4.5894 | 10.905 | 0.095
14 | 5.0369 | 8.9917 | 0.057
15 | 2.8818 | 10.5004 | 0.006
16 | 6.5256 | 8.2986 | 0
17 | 3.7449 | 9.6187 | 0
TankSize | 0.0
capacities
Boiler | Boiler
GSHP | GSHP
Grid | Grid
HP | HP
MicroCHP | MicroCHP
Net_export | Net_export
Net_import | Net_import
PV | PV
ST | ST
capacity0 | 11.6479
capacity1 | 8.16835
capacity2 | 0.0
capacity3 | 0.914739
demands | Elec | Heat
energy_input | Boiler | GSHP | Grid | HP | MicroCHP | Net_export | Net_import | PV | ST
0 | 7.506 | 0 | 0 | 0 | 0 | 0 | 0.312 | 0 | 0
1 | 9.7369 | 0 | 0 | 0 | 0 | 0 | 0.5696 | 0 | 0
2 | 15.3699 | 0 | 0 | 0 | 0 | 0 | 0.7052 | 0 | 0
3 | 11.8805 | 0 | 0 | 0 | 0 | 0 | 0.5498 | 0 | 0
4 | 11.9884 | 0 | 0 | 0 | 0 | 0 | 0.5696 | 0 | 0
5 | 12.5909 | 0 | 0 | 0 | 0 | 0 | 0.5696 | 0 | 0
6 | 11.9349 | 0 | 0 | 0 | 0 | 0 | 0.5696 | 0 | 0
7 | 19.6032 | 0 | 0 | 0 | 0 | 0 | 1.6066 | 0 | 0
8 | 1.1285 | 0 | 0 | 0 | 0 | 0 | 0.5696 | 0 | 0
9 | 2.0883 | 0 | 0 | 0 | 0 | 0 | 0.5696 | 0 | 0
10 | 0.59659 | 0 | 0 | 0 | 0 | 0 | 0.3304 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5512 | 0 | 0
12 | 9.9178 | 0 | 0 | 0 | 0 | 0 | 1.0068 | 0 | 0
13 | 11.6011 | 0 | 0 | 0 | 0 | 0 | 4.5894 | 0 | 0
14 | 9.5657 | 0 | 0 | 0 | 0 | 0 | 5.0369 | 0 | 0
15 | 11.1706 | 0 | 0 | 0 | 0 | 0 | 2.8818 | 0 | 0
16 | 8.8283 | 0 | 0 | 0 | 0 | 0 | 6.5256 | 0 | 0
17 | 10.2327 | 0 | 0 | 0 | 0 | 0 | 3.7449 | 0 | 0
export_streams | Elec | Net_export
hub_id | 1
import_streams | Grid | Gas | Net_import
investment_cost | 2088.92
is_installed
Boiler | 1
GSHP | 0
Grid | 0
HP | 0
MicroCHP | 0
Net_export | 0
Net_import | 1
PV | 0
ST | 0
is_installed_2
Battery | 0
Hot Water Tank | 0
is_link_installed
0 | 1
1 | 1
2 | 0
3 | 1
link_capacities
0 | capacity0
1 | capacity1
2 | capacity2
3 | capacity3
links | 0 | 1 | 2 | 3
maintenance_cost | 1.55796
name | h | u | b | 2
network_cost | 80.6024
operating_cost | 149.166
output_streams | Elec | Heat | Net_export
part_load | MicroCHP
sources | Irradiation
storage_capacity
Battery | BatSize
Hot Water Tank | TankSize
storages | Battery | Hot Water Tank
stream_timeseries
Irradiation | Irradiation
streams | Elec | Heat | Irradiation | Grid | Gas | Net_import | Net_export
technologies | Grid | HP | Boiler | MicroCHP | PV | ST | GSHP | Net_import | Net_export
time | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
total_carbon | 32.1536
total_cost | 2320.24

## LOADS
LOADS
| Elec | Heat
0 | 0.312 | 7.0556
1 | 0.5696 | 9.1527
2 | 0.7052 | 14.4477
3 | 0.5498 | 11.1676
4 | 0.5696 | 11.2691
5 | 0.5696 | 11.8355
6 | 0.5696 | 11.2188
7 | 1.6066 | 18.427
8 | 0.5696 | 1.0608
9 | 0.5696 | 1.963
10 | 0.3304 | 0.5608
11 | 0.5512 | 0
12 | 1.0068 | 9.3228
13 | 4.5894 | 10.905
14 | 5.0369 | 8.9917
15 | 2.8818 | 10.5004
16 | 6.5256 | 8.2986
17 | 3.7449 | 9.6187

## capacity_storage
capacity_storage
Battery | 0
Hot Water Tank | 0

## capacity_tech
capacity_tech
Boiler | 19.6032
GSHP | 0
Grid | 0
HP | 0
MicroCHP | 0
Net_export | 0
Net_import | 6.5256
PV | 0
ST | 0

## energy_exported
energy_exported
| Elec | Net_export
0 | 0 | 0
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
16 | 0 | 0
17 | 0 | 0

## energy_from_storage
energy_from_storage
| Battery | Hot Water Tank
0 | 0 | 0
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
16 | 0 | 0
17 | 0 | 0

## energy_imported
energy_imported
| Gas | Grid | Net_import
0 | 7.506 | 0 | 0.312
1 | 9.7369 | 0 | 0.5696
2 | 15.3699 | 0 | 0.7052
3 | 11.8805 | 0 | 0.5498
4 | 11.9884 | 0 | 0.5696
5 | 12.5909 | 0 | 0.5696
6 | 11.9349 | 0 | 0.5696
7 | 19.6032 | 0 | 1.6066
8 | 1.1285 | 0 | 0.5696
9 | 2.0883 | 0 | 0.5696
10 | 0.59659 | 0 | 0.3304
11 | 0 | 0 | 0.5512
12 | 9.9178 | 0 | 1.0068
13 | 11.6011 | 0 | 4.5894
14 | 9.5657 | 0 | 5.0369
15 | 11.1706 | 0 | 2.8818
16 | 8.8283 | 0 | 6.5256
17 | 10.2327 | 0 | 3.7449

## energy_to_storage
energy_to_storage
| Battery | Hot Water Tank
0 | 0 | 0
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
16 | 0 | 0
17 | 0 | 0

## is_on
MicroCHP
0 | 0
1 | 0
2 | 0
3 | 0
4 | 0
5 | 0
6 | 0
7 | 0
8 | 0
9 | 0
10 | 0
11 | 0
12 | 0
13 | 0
14 | 0
15 | 0
16 | 0
17 | 0

## storage_level
storage_level
| Battery | Hot Water Tank
0 | 0 | 0
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
16 | 0 | 0
17 | 0 | 0
18 | 0 | 0