## Other
ANNUAL_MAINTENANCE_STORAGE_COSTS
Battery | 0
Hot Water Tank | 0
BIG_M | 99999
BatSize | 0.0
Boiler | 0.359203
CARBON_CREDITS
Elec | 0
Gas | 0
Grid | 0
Heat | 0
Irradiation | 0
Net_export | 0
Net_import | 0
CARBON_FACTORS
Elec | 0
Gas | 0.194
Grid | 0.35
Heat | 0
Irradiation | 0
Net_export | 0
Net_import | 0
CHARGING_EFFICIENCY
Battery | 0.99
Hot Water Tank | 0.99
CHP | 0.0
CONVERSION_EFFICIENCY | Elec | Gas | Grid | Heat | Irradiation | Net_export | Net_import
Boiler | 0 | -1 | 0 | 0.94 | 0 | 0 | 0
CHP | 0.3 | -1 | 0 | 0 | 0 | 0 | 0
GSHP | -1 | 0 | 0 | 6 | 0 | 0 | 0
Grid | 1 | 0 | -1 | 0 | 0 | 0 | 0
HP | -1 | 0 | 0 | 3.2 | 0 | 0 | 0
MicroCHP | 0.9 | -1 | 0 | 5.4 | 0 | 0 | 0
Net_export | -1 | 0 | 0 | 0 | 0 | 1 | 0
Net_import | 1 | 0 | 0 | 0 | 0 | 0 | -1
PV | 0.165 | 0 | 0 | 0 | 0 | 0 | 0
ST | 0 | 0 | 0 | 0.46 | 0 | 0 | 0
DISCHARGING_EFFICIENCY
Battery | 0.99
Hot Water Tank | 0.99
FEED_IN_TARIFFS
Elec | 0.09
Net_export | 0
FIXED_CAPITAL_COSTS
Boiler | 0
CHP | 0
GSHP | 0
Grid | 0
HP | 0
MicroCHP | 0
Net_export | 0
Net_import | 0
PV | 0
ST | 0
FIXED_CAPITAL_COSTS_STORAGE
Battery | 0
Hot Water Tank | 0
FIXED_NETWORK_INVESTMENT_COST | 30.0
FUEL_PRICES
Elec | 0
Gas | 0.028
Grid | 5
Heat | 0
Irradiation | 0
Net_export | 0
Net_import | 0
GSHP | 0.0
Grid | 0.0
HP | 0.0
LINEAR_CAPITAL_COSTS
Boiler | 500
CHP | 1000
GSHP | 15000
Grid | 0
HP | 1500
MicroCHP | 1800
Net_export | 0
Net_import | 0
PV | 6000
ST | 4500
LINEAR_STORAGE_COSTS
Battery | 800
Hot Water Tank | 600
LINK_LENGTH
0 | 0.5
1 | 0.7
2 | 0.2
3 | 0.25
LINK_PROPORTIONAL_COST | 10.0
MAX_CHARGE_RATE
Battery | 0.3
Hot Water Tank | 0.3
MAX_DISCHARGE_RATE
Battery | 0.3
Hot Water Tank | 0.3
MIN_STATE_OF_CHARGE
Battery | 0
Hot Water Tank | 0
MicroCHP | 0.117996
NET_PRESENT_VALUE_STORAGE
Battery | 0.10185
Hot Water Tank | 0.10185
NET_PRESENT_VALUE_TECH
Boiler | 0.0888
CHP | 0.1019
GSHP | 0.0817
Grid | 0.08
HP | 0.1019
MicroCHP | 0.1019
Net_export | 0.08
Net_import | 0.08
PV | 0.1019
ST | 0.0858
Net_export | 0.0
Net_import | 0.896444
OMV_COSTS
Boiler | 0.01
CHP | 0.03
GSHP | 0.1
Grid | 0
HP | 0.1
MicroCHP | 0.02
Net_export | 0
Net_import | 0
PV | 0.01
ST | 0.01
PART_LOAD | Elec | Heat
CHP | 0.5
MicroCHP | 0.5 | 0.5
PV | 0.0
ST | 0.0
STORAGE_STANDING_LOSSES
Battery | 0.001
Hot Water Tank | 0.001
TIME_SERIES | Elec | Heat | Irradiation
0 | 0.67608 | 0.33765 | 0
1 | 0.97152 | 0.9126 | 0
2 | 0.023037 | 0.088596 | 0
3 | 0.22987 | 0.75579 | 0.69738
4 | 0.33873 | 0.29519 | 0.35136
5 | 0.42182 | 0.18915 | 0.3314
6 | 0.9565 | 0.36034 | 0.13087
7 | 0.9566 | 0.46078 | 0
8 | 0.79204 | 0.86817 | 0
9 | 0.47379 | 0.92562 | 0
10 | 0.43375 | 0.57608 | 0
11 | 0.089194 | 0.83886 | 0.42033
12 | 0.45315 | 0.40133 | 0.36152
13 | 0.0067757 | 0.86731 | 0.92773
14 | 0.73889 | 0.78842 | 0.0216
15 | 0.57787 | 0.97483 | 0
16 | 0.8663 | 0.82388 | 0
17 | 0.15979 | 0.3054 | 0
TankSize | 0.0
capacities
Boiler | Boiler
CHP | CHP
GSHP | GSHP
Grid | Grid
HP | HP
MicroCHP | MicroCHP
Net_export | Net_export
Net_import | Net_import
PV | PV
ST | ST
capacity0 | 11.6479
capacity1 | 8.16835
capacity2 | 0.0
capacity3 | 0.914739
demands | Elec | Heat
energy_input | Boiler | CHP | GSHP | Grid | HP | MicroCHP | Net_export | Net_import | PV | ST
0 | 0.3592 | 0 | 0 | 0 | 0 | 0 | 0 | 0.67608 | 0 | 0
1 | 0.293 | 0 | 0 | 0 | 0 | 0.118 | 0 | 0.86532 | 0 | 0
2 | 0.094251 | 0 | 0 | 0 | 0 | 0 | 0 | 0.023037 | 0 | 0
3 | 0.12618 | 0 | 0 | 0 | 0 | 0.118 | 0 | 0.12367 | 0 | 0
4 | 0.31403 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33873 | 0 | 0
5 | 0.20122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.42182 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0.06673 | 0 | 0.89644 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0.085329 | 0 | 0.8798 | 0 | 0
8 | 0.24574 | 0 | 0 | 0 | 0 | 0.118 | 0 | 0.68584 | 0 | 0
9 | 0.30685 | 0 | 0 | 0 | 0 | 0.118 | 0 | 0.3676 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0.10668 | 0 | 0.33774 | 0 | 0
11 | 0.21456 | 0 | 0 | 0 | 0 | 0.118 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0.07432 | 0 | 0.38626 | 0 | 0
13 | 0.24483 | 0 | 0 | 0 | 0 | 0.118 | 0 | 0 | 0 | 0
14 | 0.1609 | 0 | 0 | 0 | 0 | 0.118 | 0 | 0.6327 | 0 | 0
15 | 0.3592 | 0 | 0 | 0 | 0 | 0.118 | 0 | 0.47167 | 0 | 0
16 | 0.19862 | 0 | 0 | 0 | 0 | 0.118 | 0 | 0.76011 | 0 | 0
17 | 0.32489 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15979 | 0 | 0
export_streams | Elec | Net_export
hub_id | 3
import_streams | Grid | Gas | Net_import
investment_cost | 37.5914
is_installed
Boiler | 1
CHP | 0
GSHP | 0
Grid | 0
HP | 0
MicroCHP | 1
Net_export | 0
Net_import | 1
PV | 0
ST | 0
is_installed_2
Battery | 0
Hot Water Tank | 0
is_link_installed
0 | 1
1 | 1
2 | 0
3 | 1
link_capacities
0 | capacity0
1 | capacity1
2 | capacity2
3 | capacity3
links | 0 | 1 | 2 | 3
maintenance_cost | 0.208141
name | h | u | b | 4
network_cost | 4.89342
operating_cost | 0.125
output_streams | Elec | Heat | Net_export
part_load | MicroCHP | CHP
sources | Irradiation
storage_capacity
Battery | BatSize
Hot Water Tank | TankSize
storages | Battery | Hot Water Tank
stream_timeseries
Irradiation | Irradiation
streams | Elec | Heat | Irradiation | Grid | Gas | Net_import | Net_export
technologies | Grid | HP | Boiler | MicroCHP | PV | ST | CHP | GSHP | Net_import | Net_export
time | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
total_carbon | 0.93867
total_cost | 42.8179

## LOADS
LOADS
| Elec | Heat
0 | 0.67608 | 0.33765
1 | 0.97152 | 0.9126
2 | 0.023037 | 0.088596
3 | 0.22987 | 0.75579
4 | 0.33873 | 0.29519
5 | 0.42182 | 0.18915
6 | 0.9565 | 0.36034
7 | 0.9566 | 0.46078
8 | 0.79204 | 0.86817
9 | 0.47379 | 0.92562
10 | 0.43375 | 0.57608
11 | 0.089194 | 0.83886
12 | 0.45315 | 0.40133
13 | 0.0067757 | 0.86731
14 | 0.73889 | 0.78842
15 | 0.57787 | 0.97483
16 | 0.8663 | 0.82388
17 | 0.15979 | 0.3054

## capacity_storage
capacity_storage
Battery | 0
Hot Water Tank | 0

## capacity_tech
capacity_tech
Boiler | 0.3592
CHP | 0
GSHP | 0
Grid | 0
HP | 0
MicroCHP | 0.118
Net_export | 0
Net_import | 0.89644
PV | 0
ST | 0

## energy_exported
energy_exported
| Elec | Net_export
0 | 0 | 0
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0.017002 | 0
12 | 0 | 0
13 | 0.09942 | 0
14 | 0 | 0
15 | 0 | 0
16 | 0 | 0
17 | 0 | 0

## energy_from_storage
energy_from_storage
| Battery | Hot Water Tank
0 | 0 | 0
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
16 | 0 | 0
17 | 0 | 0

## energy_imported
energy_imported
| Gas | Grid | Net_import
0 | 0.3592 | 0 | 0.67608
1 | 0.411 | 0 | 0.86532
2 | 0.094251 | 0 | 0.023037
3 | 0.24418 | 0 | 0.12367
4 | 0.31403 | 0 | 0.33873
5 | 0.20122 | 0 | 0.42182
6 | 0.06673 | 0 | 0.89644
7 | 0.085329 | 0 | 0.8798
8 | 0.36373 | 0 | 0.68584
9 | 0.42485 | 0 | 0.3676
10 | 0.10668 | 0 | 0.33774
11 | 0.33255 | 0 | 0
12 | 0.07432 | 0 | 0.38626
13 | 0.36282 | 0 | 0
14 | 0.2789 | 0 | 0.6327
15 | 0.4772 | 0 | 0.47167
16 | 0.31662 | 0 | 0.76011
17 | 0.32489 | 0 | 0.15979

## energy_to_storage
energy_to_storage
| Battery | Hot Water Tank
0 | 0 | 0
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
16 | 0 | 0
17 | 0 | 0

## is_on
is_on
| CHP | MicroCHP
0 | 0 | 0
1 | 0 | 1
2 | 0 | 0
3 | 0 | 1
4 | 0 | 0
5 | 0 | 0
6 | 0 | 1
7 | 0 | 1
8 | 0 | 1
9 | 0 | 1
10 | 0 | 1
11 | 0 | 1
12 | 0 | 1
13 | 0 | 1
14 | 0 | 1
15 | 0 | 1
16 | 0 | 1
17 | 0 | 0

## storage_level
storage_level
| Battery | Hot Water Tank
0 | 0 | 0
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
16 | 0 | 0
17 | 0 | 0
18 | 0 | 0